## Clarifications
Beds and Gurneys RFP# 7143
Questions/Clarifications
Category | Questions/Clarifications | UCLA Response
Mandatory Requirements
Mandatory Requirements
Mandatory Requirements
Bed Requirements | Item B 1.0: Requirement mentions height from frame to ground for catheter bag, but does not mention which foley bag will be used? Will the dimensions be used for the foley bag UCLA currently uses? | Bard Sure-Step Foley bag
Bed Requirements | Item B 4.0: Is it just in time education have to be a QR code?. | UCLA has utilized tags on equipment with QR codes for quick nurse access to tipsheets. We could explore placing instructional tipsheets or links to vendor demonstration videos on the Nursing website.
Bed Requirements | Integration 2.0 - Describe bed alarm options in the room (locally) and integration with nurse call, RFID tags, dashboards and EHRs * Do the bed data points needed to populate the Baxter Hillrom nurse call status board and enable patient safety protocols also need to populate the EMR? * Does the bed support automatic arming and disarming of the bed exit alarm via the nurse call system based upon the presence of a staff RFID badge in the patient room? * Does the bed support actions such as automatically setting the bed exit alarm if the patient is a falls risk per EMR protocols? * Does the bed need to have the ability to send and receive bi-directional data to accomplish setting the patient safety protocol and associated alert status on the nurse call system and status board? * Does the bed need to have the ability to populate the Nurse Call status board for weight? * Does the bed need to be able to accept a request from the nurse call system for the weight of the patient real time so it can be displayed on the status board and potentially documented in the EMR? | Our bed and chair alarms integrate with nurse call using the aux port connectors. The beds alarm locally in the room and in the hallway and front desk with nurse call. We do not utilize RFID tags at this time. We do not have any integration with the EMR. We have a dashboard through the BH nurse call, but have not integrated with beds at this time. The gold standard would be to have the bed data points populate to a centralized virtual dashboard. We have not investigated EMR integration that allows for patient safety protocols to be enabled. We are considering RFID badge integration in the future.
Bed Requirements | 3.0 - Describe the type of nurse call system connectivity, such as cable or wireless or both. Describe the capabilities and requirements of your options * Does the bed via wireless and / or cable connection need to integrate directly to the nurse call to display data on the Baxter Hillrom Nurse Call Status Board? * The status board data fields include data points that would apply to Falls prevention and Patient Safety protocols; each side rail data, brakes set data, bed in the lowest position, bed exit set, bed connected / not connected. Will the bed need to be able to display all of these data points need to populate the nurse call status board? | We have a mixed model of Rauland Borg and Baxter HillRom nurse call with future state of converting all RB to BH. We use the auxiliary ports to connect the beds to the nurse call for both vendors at this time. We would like the bed to be connected to a standardized virtual board for quick assessment of unit safety. We would like a virtualized dashboard that provides a quick view of the safety features of the bed when they are not engaged- ie brakes, low position, bed exit and bed connected. Describe how the bed connects to the nurse call system. Is it via bed-to-wall cable or wireless or an option for both? Describe what physical or technical requirement are needed for the connectivity, e.g. IT requirements, type of cable, bedside installations? This is to assess what UCLA needs to install.
Bed Requirements | 7.0 - When the cable connection is not connected back to the wall port (such as after returning from procedure or after terminal room cleaning), is there an alert so that staff may be reminded to connect it? * Does the bed need to send a data point to the nurse call system to display a visual icon on the status board of the bed connected or disconnected status? | Does the bed or nurse call have an audio or visual alert that the bed-nurse call connection is not communicating due to cable disconnected (if cable is used)? An alert would help remind the staff that the bed is not connected to the nurse call system. We would like to have a visible and audible alert that a bed is not connected both locally and at a centralized digital dashboard.
Bed Requirements
Bed Requirements
Gurney Requirements
Equipment Detail
Pricing | Instructions- What is meant by providing a complete list of consumables required for Neurosurgery as it relates to the beds and gurneys? | Are there any additional items including seizure pads, head stabilizer available for use with gurneys?
Miscellaneous | Beds and Gurney RFP Introduction: 1. Overview D. Instructions for Submitting Proposals How do you want the bid submitted, an email copy or hard copy? Also it mentions OR Lights, Booms and Columns, are they a part of this bid? | All bids should be submitted electronically to Tynysha Moseley, tmmoseley@mednet.ucla.edu Lights and booms is not a part of this RFP, that wording was an oversight on our part. Thank you