## TAB 2-BUSINESS CRITERIA
TAB 2 - BUSINESS CRITERIA
Instructions: Please provide a response to each comment listed. The University believes that the prospective bidder's previous experience, financial capability, expertise of personnel, and related factors are important in assessing the bidder's potential to successfully fulfill the qualifications defined herein. Lack of comments to any items listed may render the bidder's proposal as non-responsive.
Item No. | Business Criteria | Does Not Meet Qualification | Meets Qualification | Comment
1 | Provide a brief overview of your company, including but not limited to, ownership over the last 5 years, number of years in business, mission, vision, and business philosophy.
1.1 | Please explain the general qualifications and overview of the firm to include demonstrated ability to provide products, configuration, implementation, documentation, turnover and training consistent with The University objectives as outlined in the RFP.
2 | Please provide Biographies for the Top Executives of the company.
3 | How long has your company provided FISH Automation systems in the US? What is the total number of hospitals your company provides FISH Automation systems for in the US? How many are academic medical centers?
4 | What is the total number of hospitals your company provides FISH Automation systems for in California ? Are any of these customers University of California centers?
5 | Please name and describe the background of any key subcontractors or partners that would be used in the University's implementation.
6 | Should an award of business be extended by UCLA, the bidder will be responsible for the behavior of all of its employees and subcontractors while on the premises of the UCLA Health System campus.
7 | Please provide a list of your current strategic alliances. Provide any current or future plans for mergers or acquisitions for your company. If there are any plans currently in progress, please provide details of the plans and an estimated timeline.
8 | The respondent shall provide a description of any material litigation in which your company is currently involved and how such litigation may affect implementation of the proposed solution.
9 | The bidder shall provide indication of any potential conflict of interest and a plan for avoiding any conflict.
10 | Bidders shall have the ability to obtain the necessary insurance (refer to the enclosed University of California Terms and Conditions of Purchase).
10.1 | Bidder shall provide its federal employer tax identification number and complete a UCLA Business information Form.
10.2 | Provide 2 years audited financial statements or equivalent.
10.3 | Bidder shall submit a current Dun & Bradstreet report ("Supplier Qualifier Report" or similar) with its bid submission. The report shall be dated no more than 60 days prior to the date of bid submission.
Item No. | Sustainability Information Requested (Mandatory Section - not to be modified) | Does Not Meet Qualification | Meets Qualification | Comment
1 | To the extent possible, the awarded vendor's offered products, services, solutions and operations shall align with the sustainability goals of UCLA Health as expressed in the UC Sustainable Practices policy. (https://policy.ucop.edu/doc/3100155/SustainablePractices)
2 | In the comments column, state your firm's progress, policies and/or practices in the following areas:
2.1 | Green Building Design
2.2 | Clean Energy
2.3 | Climate Protection
2.4 | Sustainable Transportation
2.5 | Sustainable Building Operations
2.6 | Zero Waste
2.7 | Sustainable Water Systems
3 | State how sustainable practices will be employed in providing the offered products, services or solutions to UCLA Health.
Item No. | Equity, Diversity and Inclusion Information Requested (Mandatory Section - not to be modified) | Does Not Meet Qualification | Meets Qualification | Comment
The University of California and UCLA Health are committed to doing business in an equitable manner by working with small, local and diverse businesses. Vendors are invited to provide a response to the following optional questions.
1 | Does your company have an Equity, Diversity & Inclusion (EDI) program? If so, in the comments column state the year it was established.
1.1 | State what objective has your EDI program achieved.
2 | Does your company have a designated individual responsible for leading your diversity initiatives? State titles or roles within the organization.
3 | Does your company mentor and/or has your company established programs to develop talented individuals of diverse backgrounds for future opportunities within your company and/or industry? Explain.
4 | Does your organization have any other programs or initiatives that aim to increase the diversity and equity among your employee population?
5 | Does your company have a written and public anti-racist policy? Submit a copy with your company's bid response and/or state where this information can be publicly accessed.
6 | Does your company incorporate Equity, Diversity & Inclusion in your hiring process? Explain.
7 | Does your Company have a supplier diversity program? If so, please describe your program beyond a broad “Commitment to Diversity” statement.
8 | Has your company examine the usage of outdated terminology/language? Explain.

## TAB 3-REFERENCES
TAB 3 - REFERENCES
Instructions: The vendor shall submit reference information, including two healthcare clients with similar requirements to UCLA.
INFORMATION REQUESTED | #1 - ACADEMIC HOSPITAL | #2 - CALIFORNIA HOSPITAL SYSTEM
Customer name
Street address
City/State/Zip Code
Contact name/title
Contact telephone number
Contact Email address
Summary of project
Dates of Implementation start and Client Acceptance
Approximate value of installed system
INFORMATION REQUESTED | #3 - CALIFORNIA HOSPITAL | #4 - OTHER REFERENCE
Customer name
Street address
City/State/Zip Code
Contact name/title
Contact telephone number
Contact Email address
Summary of project
Dates of Implementation start and Client Acceptance
Approximate value of installed system

## TAB 4-MANDATORY REQUIREMENTS
TAB 4 - MANDATORY REQUIREMENTS
Instructions: The submitter should indicate whether or not each of the requirements can be met. Lack of comments to any items listed may render the bidder's proposal as nonresponsive. In the comment column, the bidder shall explain how the proposed item(s) meets the requirement, and any non-compliance or alternate solutions.
Item No. | Mandatory Requirements | Does Not Meet Requirement | Meets Requirement | Comment
1 | The equipment(s) or systems proposed shall include all equipment, software, accessories, and features necessary for a complete, operating, state-of-the-art system. All software shall have been validated by prior use in healthcare applications All software provided shall be of the latest revision/version commercially available at the time of installation.
2 | Any equipment and materials delivered to UCLA Health System must be new and unused other than such use as is necessary for pre-installation and testing. Bidder must be capable of supplying equipment which is obtained by the bidder from legal and reputable channels.
3 | The seller warrants and represents that the equipment when delivered shall conform to all applicable standards and requirements of the California conform to all applicable standards and requirements of the California Occupational Safety and Health Act (OSHA).
4 | Electrical Materials, devices, fittings and appliances shall be suitable for and be equipped with a three-wire grounding system including power cord and power plug. Power plugs and receptacles shall be hospital grade. Electrical safety requirements shall be governed by California Title 22, Division 5, Charter 1, Article 8, Section 70853. All electrical devices must have an approval, for its intended use, by an acceptable independent laboratory such as U.L.1, ETL, LA City, IEC-601 or CSA.
5 | The system must be capable of integration with UCLA's CareConnect (EPIC) Electronic Health Record. Please name the health system most closely matching the size and complexity of UCLA Health System at which your company's solution has been successfully integrated with the EPIC E.H.R.
6 | The system must have the ability to be accessed remotely by multiple users in multiple sites within the UCLA Health System.
7 | The bidder shall provide Instructions for Use (IFUs) for any instruments, attachments or other accessories used with the proposed system. IFUs shall include sterilization requirements. Please include a list of these accessories as an exhibit to your company's RFP response.
8 | The system must be able to meet privacy and security requirements to protect Protected Healthcare Information and comply with HIPAA regulations. Name the prominent features of your solution that contribute to this level of security.
8.1 | The bidder must complete and sign the attached Business Associates Agreement (BAA) if the bidder's solution will have access to PII / PHI data. If, in UCLA Health's estimation, a bidder submits a BAA with suggested edits (redlines) that constitute a material deviation from UCLA's understanding of the document, this may render the vendor's bid submission unresponsive.
8.2 | The bidder agrees to complete the BAA Questionnaire if changes or redlines are requested to the BAA documents. Since UCLA Health is a chartered and regulated State of California nonprofit entity, many terms and state-mandated and are challenging for UCLA Health Contracts administrators to be flexible on.
9 | The bidder must complete and sign either the attached (1) Master UC Terms and conditions if the proposed implementation scope does not include hosting services, and is on-premise . . OR (2) a) Master UC Health Software Hosting Agreement is appropriate when the proposed-scope includes supplier hosted services / SaaS.
9.1 | The bidder agrees Data Security (DS) Appendix may be added and incorporated into any resulting agreement if applicable.
9.2 | The bidder agrees to complete the Data Security (DS) Questionnaire if changes or redlines changes are requested to the DS documents. Since UCLA Health is a chartered and regulated State of California nonprofit entity, many terms and state-mandated and are challenging for UCLA Health Contracts administrators to be flexible on.

## TAB 5-FUNCTIONAL REQUIREMENTS
TAB 5 - FUNCTIONAL REQUIREMENTS
Instructions: The respondent should indicate whether or not each of the requirements can be met. Any specification not marked as either "Meets Requirement" or "Does Not Meet Requirement" may render the bidder's proposal non-responsive. In the comment column, the bidder shall explain how the proposed item(s) meets the requirement, and any non-compliance or alternate solutions.
Item No. | A - General IT & FISH Requirements | Does Not Meet Requirement | Meets Requirement | Comment
1 | High speed scnning capacity (scans 300 cells in under 45s)
2 | Efficient image management system.
3 | Ability to image whole slides at various resolutions (Z stacking)
4 | Database capabilities to store and retrieve cases with various abnormal signal patterns
5 | AI capabilities and ability to integrate with other AI algorithms/ vendors
6 | High throughput, Barcode automation and automated oil dispersion in the Scanning System
Item No. | B - Specific FISH Requirements | Does Not Meet Requirement | Meets Requirement | Comment For each requirement, please state your system's advatage over competitor's offerings.
1 | Digital Pathology Solution for mulitple services
1.1 | Complete individual single FISH filter display for each cell based on probe set
1.2 | Automatic detection of abnormal signal patterns
1.3 | Slide Scanner: Capable of loading different sample types. Whole slide Imaging of H&E, and hybridized dropped slides and FFPE sections. Metaphase finder capablities.
1.4 | Ability to zoom up to 80X digitally
1.5 | Tissue matching of H&E slides (Brightfield) and FISH (Fluorescent) slides
1.6 | Automated scanning with Visualization and Analysis (automated and manual) of different probe strategies
1.7 | Ability to retreive H&E images from other Image Manager systems
1.8 | QMS Certification of Software (ISO13485)
1.9 | Blinded analysis workflow with automatic third reader alert and supervisor review mode
1.1 | Ability to STAT scan slides without interupting the routine load
1.11 | Ability to run continuously, without downtime
2 | Digital Pathology Image Management Solution: |  |  | For each requirement, please state your system's advatage over competitor's offerings.
2.1 | Ability to view live share with independent review of slide
2.2 | Scalable to handle multiple site and multiple specimen types
2.3 | Comprehensive LIS integration
2.4 | Bidirectional interface with LIS
2.5 | Teaching solution for making study sets with or without deidentification
2.6 | Good performance with multiple users logged in the system
2.7 | Live consult on a case with or w/o chat/audio video support
Item No. | C - Procedures | Does Not Meet Requirement | Meets Requirement | Comment
1 | Provide a list of procedures approved for the proposed system with the corresponding CPT codes.
Item No. | D In-person and remote support | Does Not Meet Requirement | Meets Requirement | Comment
1 | Describe your company's program for field tech support by manufacturer personnel. Include the role, level of training, scope of services and hours of availability for in-room support. What are the chief advantages of this program compared to your competitors.
Item No. | E - Instruments and Consumables | Does Not Meet Requirement | Meets Requirement | Comment
1 | With your company's RFP response, please provide a cost list of available and proprietary instruments, consumables and non-reusable supplies necessary to operate the proposed system at a large, complex academic medical center. Include any pricing tiers available for higher volumes of use. Are blanket/standing POs accepted for these consumables?
Item No. | F - Data Storage Procedures | Does Not Meet Requirement | Meets Requirement | Comment
1 | What actions are required by pathology personnel to assure transfer and storage of data and images before, during and after a case?
2 | Cloud integration and how does that impact end user experience - downtime to pull old cases

## TAB 6-WARRANTY-SUPPORT
TAB 6 - WARRANTY/SUPPORT
Service and Support/Terms & Conditions
Instructions: Instructions: The vendor should indicate whether or not each general requirement can be met and if so, whether via the standard maintenance plan or by an optional upgraded plan. If the vendor cannot meet a requirement, the vendor is encouraged to explain its noncompliance in the "Comments" section. In the comment column, the bidder shall explain how the proposed item(s) meets the requirement, and any non-compliance or alternate solutions. The bidder shall include a copy standard maintenance plan with service level agreements any upgrade options as an exhibit to its RFP response.
Item No. | A - Warranty, Service and Support | Does Not Meet Requirement | Standard Plan SLA Meets Requirement | Upgraded Plan SLA Meets Requirement | Comments
1 | Vendor Acceptance Testing. Upon completion of equipment installation, the vendor shall test the equipment as to its proper functioning, with all test results in writing. All quality assurance equipment necessary to carry out this test protocol shall be provided as part of the acquisition. The hospital shall have the option of assigning representative(s) to observe any of the Vendor’s acceptance testing and to discuss the progress and results of this testing with representatives of the vendor. No acceptance shall be valid without the signatures of an authorized UCLA representative.
2 | On-Site Acceptance Support. Vendor shall provide an on-site engineer throughout the clinical acceptance period or as deemed acceptable by UCLA.
3 | Operator's Manuals. Two 2) complete sets of operator’s manuals for all equipment shall be provided for each unit. One user tutorial in electronic format (computer diskette or compact disk) shall be provided for each unit.
4 | Maintenance Manuals. For each quantity of equipment, two (2) complete sets of service manuals shall be provided for Clinical Engineering. One copy should be provided in electronic format (e.g. compact disk). Service manuals shall include a complete set of schematics, flow diagrams, a spare parts list, a list of required test equipment, a list of parts comprising the PM kit, complete operational checklist and a set of detailed periodic scheduled maintenance procedures with the corresponding required inspection frequencies. All manuals shall be kept on-site and kept current by the vendor throughout the life of the equipment. Any changes or modifications to the manuals shall be indicated and dated. Documentation updates shall be provided at no cost for the life of the system.
5 | Warranty Period and Coverage. A twelve (12) month, one hundred percent (100%) warranty is required for all equipment.
6 | Warranty Commencement. The warranty period shall commence upon clinical acceptance of the equipment.
7 | Replacement Parts Warranty. Any defective equipment/part that is replaced during the warranty/service contract period shall be covered by the balance of the warranty or 30 days, whichever is longer, regardless of the term of the warranty/service contract
8 | State the number of factory trained and certified service engineers trained locally and the number of similar systems installed locally (within a 60 mile radius of UCLA).
9 | Routine Service Call. At minimum, the vendor shall guarantee a response time of one-half hour or less by telephone and service will be scheduled and completed at UCLA's convenience.
10 | Emergency Service Call. At minimum, the vendor shall guarantee a response time of one-half hour or less by telephone and four (4) hours or less on-site for the duration of the warranty. Sufficient parts should be stocked in the Los Angeles metropolitan area to permit same-day completion of repairs.
10.1 | Please identify the office which would provide UCLA support and provide the location and time zone.
10.2 | The successful bidder shall provide a loaner when requested due to PM or need for repair of the unit.
11 | Preventive Maintenance. The vendor shall perform preventive maintenance work on the previously described systems at predetermined times convenient to UCLA.
12 | Warranty Termination. Six weeks prior the warranty termination, the vendor shall arrange with UCLA's Clinical Engineering Department or designated alternate, a mutually agreed upon time for a complete system check out. The vendor shall ensure that the system is performing at its optimal level and meets or exceeds the vendor’s specifications and any special contract agreements. If the equipment does not meet the manufacturer’s published specifications, the vendor shall replace, repair, or otherwise correct all performance deficiencies, at no cost to UCLA, within thirty (30) days. The warranty shall be extended until the equipment is brought up to specification .
13 | Post Warranty Maintenance Support. A post warranty maintenance agreement covering all parts, labor, and travel expenses shall be offered no later than 90 prior to the expiration of the warranty. The agreement shall include a no penalty cancellation clause that gives either party the right to cancel for convenience with 30 days written notice. UCLA shall have the option of paying for post warranty service contracts in installments.
13.1 | Post Warranty Shared Support. Provide any additional support training available to allow support for first call by Clinical Engineering technical staff.
14 | Parts/Service/Documentation Availability Guarantee. The vendor shall guarantee the availability of spare parts, technical documentation , and maintenance services needed to repair and maintain the equipment for at least 15 years beyond equipment acceptance.
14.1 | Describe the spare parts stocking strategy which will be employed during the warranty period and any subsequent maintenance period. Give the location of the company parts depot nearest to UCLA's facility.
16 | Field Service Documentation. Hard copy field service reports (FSRs) shall be submitted to UCLA every time a service person is on-site, regardless of the type of maintenance coverage (e.g. warranty, service contract, time & material) and prior to leaving the premises. Documentation shall be left for both corrective and preventive maintenance activities. All FSRs shall contain English-language descriptions of services performed. FSRs containing only computer-coded service descriptions are not acceptable. The reports must include standard parts costs, including parts covered as "no charge" items.
17 | In-Service Training. For each system, the vendor shall provide, at its own expense, comprehensive in-service training for UCLA clinical staff at a mutually agreed upon time following technical acceptance. The vendor shall provide follow-up (repeat) in-service training at no additional charge to UCLA for the first year after clinical acceptance. In the event that new software or equipment modifications require additional training, supplemental in-service training shall be performed by the vendor at no charge during the life span of the equipment.

## TAB 7-IT TECHNICAL
TAB 7 - TECHNOLOGY
Instructions: The respondent should indicate whether or not each of the requirements can be met. Any specification not marked as either "Meets Requirement" or "Does Not Meet Requirement" may render the bidder's proposal non-responsive. In the comment column, the bidder shall explain how the proposed item(s) meets the requirement, and any non-compliance or alternate solutions.
Item No. |  | A - Web / Internet / Intranet | Does Not Meet Requirement | Meets Requirement | Comment
1 | Added | Does the system have a web-based user interface with point and click navigation.
Item No. |  | B - Hardware / Software / Operating System | Does Not Meet Requirement | Meets Requirement | Comment
1 | EPSi | Provide the minimum and recommended desktop hardware requirement for the proposed solution in a single-sheet format in the proposal.
2 | EPSi | Provide any on-site back-end hardware requirement for the proposed solution (if applicable)
3 | EPSi | Provide a list of supported operating systems (i.e. UNIX, AIX, Windows, Linux) and latest validated version.
4 | EPSi | Solution supports virtualization
5 |  | Describe the process for software updates. Include types of resources needed, and the software release cycles and frequency. State method (wireless, encrypted USB, laptop etc).
6 |  | Describe the infrastructure architecture for the solution and include a diagram.
7 |  | System supports having separate TEST/DEV and PRD environments for testing upgrades and integration with other system (e.g. LIS)
8 |  | What R&D does your company do to use technology to it's fullest for better customer support and satisfaction?
9 |  | If you supply a digital pathology scanner as part of your deployment are there any consumable parts that the customer must periodically replace to keep the device in service? If so are they supplied by your organization or does the customer need to source them independently?
10 |  | System has capability to import data and images from a legacy digital pathology system
11 | EPSi | What is your company's current release cycle for upgrades?
12 |  | System supports barcode reading/integration. Can any barcode be used or is it limited to vendor-specific barcodes?
Item No. |  | C - Performance & Scalability | Does Not Meet Requirement | Meets Requirement | Comment
1 | Updated | Is the solution scalable?
2 | Updated | How do you measure performance when solution is used by a large number of users concurrently?
3 | Updated | How do you address performance issues?
4 | Updated | How can I add additional users?
5 | EPSi | Does the solution support running in a Citrix environment?
6 |  | Does the solution support running as a web based application?
7 |  | Does the solution support/require onsite hosting/image storage?
8 |  | Does the solution support/require cloud hosting/image storage? (AWS, Azure, etc.)
9 |  | Does the solution support remote scanner locations at external hospital sites for consult case, digital slide capture? If so, describe the integration and image transfer process
10 |  | Please specify if your system supports HL7 integration with Epic Beaker AP LIS? If so, what HL7 version do you currently support?
Produce and manage HL7 messages, particularly HL7 2.x and FHIR (Fast Healthcare Interoperability Resources).
Ability to create a direct interface with Beaker, enabling seamless data flow between the cytogenetics system and the laboratory information system. This includes bidirectional data exchange for test orders, results, and patient demographics through HL7 messages.
The software should allow customization of data fields and message formats to match Beaker’s HL7 requirements, reducing the need for extensive manual configuration.
Robust error handling mechanisms for interface communication with Beaker, including comprehensive logging and alerting for failed HL7 message exchanges or discrepancies.
11 |  | How many concurrent user does the solution support, any upper limit?
Item No. |  | D - Security | Does Not Meet Requirement | Meets Requirement | Comment
1 | Moved | What type of security authentication does the solution support (i.e. Single Sign On, Active Directory, Multi-Factor Authentication)?
2 |  | Describe the type of encryption and level of encryption the solution supports. (i.e. Data in-motion, Data at rest, Bit locker)
3 | Updated | Describe how new users are added to the system.
4 |  | Describe the various user roles and level of authority.
5 | Updated | Describe how users access can be revoked.
6 |  | Does the solution require a license key (software or hardware dongle)?
7 |  | Does the solution have a Wi-Fi component? Describe the type of supported Wi-Fi connections and level of encryption.
8 |  | Do you provide remote support and what technology is used to provide support?
Item No. |  | E - Data Base System | Does Not Meet Requirement | Meets Requirement | Comment
1 | Moved | Describe how files and data are stored?
2 | Moved | Describe Data Base systems supported by this solution?
3 | Updated | Describe Data Base backup and restore procedures for this solution?
4 | Updated | Can maintenance be added concurrently?
5 |  | Does the solution support a SAN storage data base or other files systems hosting?
6 |  | Describe the quantity of data storage needed to handle the data and/or images generated by daily use of the system.
Item No. |  | F - Disaster Recovery | Does Not Meet Requirement | Meets Requirement | Comment
1 | Moved | Describe the Disaster Recovery capabilities of your solution
2 | Moved | Describe possible Recovery Point Objective and Recovery Time Objectives capabilities of your solution.
3 |  | Describe DR data base backup and restore procedures for your solution?
4 | Updated | Does your system support High Availability DR configuration across multiple datacenters?

## TAB 8-PRICING
TAB 8 - PRICING
Instructions: Please provide line item pricing for all major system components and needed accessories. Vendor may add lines to pricing template to provide a list of options. In addition to completing the template below, the vendor shall attach a quote, on the company's standard quote sheet outlining all equipment proposed. Separately, provide a complete list of all consumables required for Neurosurgery at the most favorable pricing availalble to UCLA Health.
QTY | U/M | Equipment | Unit List Price | Unit Net Price | Extended Price
1 | EA | BASE UNIT
1 | EA | REQUIRED SOFTWARE
1 | EA | PROPRIETARY STORAGE (IF REQUIRED)
LIST ALL REQUIRED INSTRUMENTS AND ACCESSORIES
1 | EA
1 | YR | WARRANTY (included with equipment purchase)
0
STATE LEAD TIME ARO:
Total Base System
OTHER RECOMMENDED COMPONENTS or ACCESSORIES (please specify):
QTY | U/M | SERVICES | Unit List Price | Unit Net Price | Extended Price
1 | EA | INSTALLATION
1 | EA | TRAINING
SERVICES SUBTOTAL
PROPOSED SOLUTION ACQUISITION TOTAL
YEAR 2 SUPPORT (Standard SLA)
YEAR 3 SUPPORT (Standard SLA)
YEAR 4 SUPPORT (Standard SLA)
YEAR 5 SUPPORT (Standard SLA)
OTHER ON-GOING CHARGES (LIST BELOW)
|  | FOLLOW-UP TRAINING | 1
SUBSEQUENT YEARS SUBTOTAL
5-YEAR COST OF OWNERSHIP