## Table of Contents
TAB # | TAB NAME | DESCRIPTION | VENDOR INFORMATION REQUIRED?
1.05 | Radiography - Single Unit Pricing Matrix | Add pricing to matrix | ✔
1.06 | Procedure and Triage Intake - Single Unit Pricing Matrix | Add pricing to matrix | ✔
1.07 | Workroom, Clinical Engineering - Single Unit Pricing Matrix | Add pricing to matrix | ✔
1.08 | Exam Room - Single Unit Pricing Matrix | Add pricing to matrix | ✔
1.09 | Procedure Room - Single Unit Pricing Matrix | Add pricing to matrix | ✔
1.1 | Med-Surg - Type A Type 6 Pricing Matrix | Add pricing to matrix | ✔
1.11 | Med-Surg - Type AM Type 6 Pricing Matrix | Add pricing to matrix | ✔
1.12 | Med-Surg - Type B Type 7 Pricing Matrix | Add pricing to matrix | ✔
1.13 | Med-Surg - Type BM Type 7 Pricing Matrix | Add pricing to matrix | ✔
1.14 | Med-Surg - Type C Type 8 Pricing Matrix | Add pricing to matrix | ✔
1.15 | Med-Surg - Type CM Type 8 Pricing Matrix | Add pricing to matrix | ✔
1.16 | Med-Surg - Type D Type 9 Pricing Matrix | Add pricing to matrix | ✔
1.17 | Med-Surg - Type DM Type 9 Pricing Matrix | Add pricing to matrix | ✔
1.18 | ICU Type E Type 10 Pricing Matrix | Add pricing to matrix | ✔
1.19 | ICU Type EM Type 10 Pricing Matrix | Add pricing to matrix | ✔
1.2 | ICU Type F Type 11 Pricing Matrix | Add pricing to matrix | ✔
1.21 | ICU Type FM Type 11 Pricing Matrix | Add pricing to matrix | ✔
1.22 | ICU Type G Type 12 Pricing Matrix | Add pricing to matrix | ✔
1.23 | ICU Type GM Type 12 Pricing Matrix | Add pricing to matrix | ✔
1.24 | ICU Type H Type 13 Pricing Matrix | Add pricing to matrix | ✔
1.25 | ICU Type HM Type 13 Pricing Matrix | Add pricing to matrix | ✔
1.26 | Med-Surg Single Occupancy Pricing Matrix | Add pricing to matrix | ✔
1.27 | Med-Surg Single Occupancy ALT Pricing Matrix | Add pricing to matrix | ✔
1.28 | Med-Surg Double Occupancy Pricing Matrix | Add pricing to matrix | ✔
1.29 | Med-Surg Double Occupancy ALT Pricing Matrix | Add pricing to matrix | ✔
1.3 | Behavioral Health Type Pricing Matrix | Add pricing to matrix | ✔
1.31 | Accessories ONLY Pricing Matrix | Add pricing to matrix | ✔
2.01 | Value Adds Questions | Vendor value adds and information to be completed | ✔
2.02 | Shipping | Vendor to add to list of questions | ✔
2.03 | Pricing Validation | Valadate alternate selections | ✔
3.01 | References | List References | ✔

## 1.05 Radiography
Manufacturer to complete matrix below in highlighted areas. Provide price and information in matrix. Price to be material unit prices sold to Contractor or UC Health. List item cost for each item and add items if needed in matrix.
Single unit - price single unit below.
System to match Amico Alert-1 Series Recessed Wall Console
To match MFG #E-CON-11R
Qty | Drawing ID | Description | Project Location | Manufacturer | Manufacturer Description | Model number | List Price | Proposed UC Health Price per Unit | Extended Cost Based on Proposed Price per Unit
1 | 1 | Radiography Type 1 | UC Davis | [5 empty] | 0
Total cost | [8 empty] | 0
SYSTEM DETAILS
[9 empty] | Sym | QTY |  | Description
[9 empty] | O | 1 | Gas outlet, Oxygen
[9 empty] | A | 1 | Gas outlet, Med Air
[9 empty] | V | 1 | Gas outlet, Vacuum
[9 empty] | E2 | 1 | Receptacle - Duplex Red
[9 empty] | N2 | 1 | Receptacle - Duplex Ivory
[9 empty] | SLM | 1 | Vacuum Slide

## 1.06 Procedure & Triage-Intake
Manufacturer to complete matrix below in highlighted areas. Provide price and information in matrix. Price to be material unit prices sold to Contractor or UC Health. List item cost for each item and add items if needed in matrix.
Single unit - price single unit below.
System to match Amico Majestic Series Horizontal Headwall System
To match MFG #HW00-02T-P-R096
Qty | Drawing ID | Description | Project Location | Manufacturer | Manufacturer Description | Model number | List Price | Proposed UC Health Price per Unit | Extended Cost Based on Proposed Price per Unit
56 | 2 | Procedure and Triage/Intake Type 2 | UC Davis | [5 empty] | 0
Total cost | [8 empty] | 0
SYSTEM DETAILS
[7 empty] | Sym | QTY |  | Description
[7 empty] | HC | 4 | Horizontal Channel
[7 empty] | VC | 1 | Vertical Channel
[7 empty] | O | 4 | Gas outlet, Oxygen
[7 empty] | A | 1 | Gas outlet, Med Air
[7 empty] | V | 4 | Gas outlet, Vacuum
[7 empty] | E2 | 7 | Receptacle - Duplex Red
[7 empty] | N2 | 2 | Receptacle - Duplex Ivory
[7 empty] | USB | 2 | Receptacle - USB Duplex
[7 empty] | NC3 | 1 | Provision Nurse Call 3G
[7 empty] | CB | 1 | Provision Code Blue 1G
[7 empty] | DA | 3 | Provision Data 1G
[7 empty] | SLM | 4 | Vacuum Slide
Typical Procedure and Triage/Intake - Headwall Single

## 1.07 Workroom, Clinical Enginee
Manufacturer to complete matrix below in highlighted areas. Provide price and information in matrix. Price to be material unit prices sold to Contractor or UC Health. List item cost for each item and add items if needed in matrix.
Single unit - price single unit below.
System to match Amico Majestic Series Horizontal Headwall System
To match MFG #HW00-01T-P-R084
Qty | Drawing ID | Description | Project Location | Manufacturer | Manufacturer Description | Model number | List Price | Proposed UC Health Price per Unit | Extended Cost Based on Proposed Price per Unit
7 | 3 | Workroom, Clinical Engineering & Hydrotherapy Type 3 | UC Davis | [5 empty] | 0
Total cost | [8 empty] | 0
SYSTEM DETAILS
[6 empty] | Sym | QTY |  | Description
[6 empty] | HC | 2 | Horizontal Channel
[6 empty] | O | 2 | Gas outlet, Oxygen
[6 empty] | A | 2 | Gas outlet, Med Air
[6 empty] | V | 2 | Gas outlet, Vacuum
[6 empty] | E2 | 2 | Receptacle - Duplex Red
[6 empty] | N2 | 1 | Receptacle - Duplex Ivory
[6 empty] | NC3 | 1 | Provision Nurse Call 3G
[6 empty] | CB | 1 | Provision Code Blue 1G
[6 empty] | DA | 1 | Provision Data 1G
[6 empty] | SLM | 2 | Vacuum Slide

## 1.08 Exam Room
Manufacturer to complete matrix below in highlighted areas. Provide price and information in matrix. Price to be material unit prices sold to Contractor or UC Health. List item cost for each item and add items if needed in matrix.
Single unit - price single unit below.
System to match Amico Majestic Series Horizontal Headwall System
To match MFG #HW00-01T-P-R072
Qty | Drawing ID | Description | Project Location | Manufacturer | Manufacturer Description | Model number | List Price | Proposed UC Health Price per Unit | Extended Cost Based on Proposed Price per Unit
4 | 4 | Exam Type 4 | UC Davis | [5 empty] | 0
Total cost | [8 empty] | 0
SYSTEM DETAILS
[6 empty] | Sym | QTY |  | Description
[6 empty] | HC | 2 | Horizontal Channel
[6 empty] | O | 1 | Gas outlet, Oxygen
[6 empty] | A | 1 | Gas outlet, Med Air
[6 empty] | V | 1 | Gas outlet, Vacuum
[6 empty] | E2 | 2 | Receptacle - Duplex Red
[6 empty] | N2 | 1 | Receptacle - Duplex Ivory
[6 empty] | NC3 | 1 | Provision Nurse Call 3G
[6 empty] | CB | 1 | Provision Code Blue 1G
[6 empty] | DA | 1 | Provision Data 1G
[6 empty] | SLM | 1 | Vacuum Slide

## 1.09 Procedure Room
Manufacturer to complete matrix below in highlighted areas. Provide price and information in matrix. Price to be material unit prices sold to Contractor or UC Health. List item cost for each item and add items if needed in matrix.
Single unit - price single unit below.
System to match Amico Majestic Series Horizontal Headwall System
To match MFG #HW00-02T-P-R084
Qty | Drawing ID | Description | Project Location | Manufacturer | Manufacturer Description | Model number | List Price | Proposed UC Health Price per Unit | Extended Cost Based on Proposed Price per Unit
1 | 5 | Procedure Room Type 5 | UC Davis | [5 empty] | 0
Total cost | [8 empty] | 0
SYSTEM DETAILS
[5 empty] | Sym | QTY |  | Description
[5 empty] | HC | 4 | Horizontal Channel
[5 empty] | VC | 2 | Vertical Channel
[5 empty] | O | 2 | Gas outlet, Oxygen
[5 empty] | A | 1 | Gas outlet, Med Air
[5 empty] | V | 2 | Gas outlet, Vacuum
[5 empty] | E2 | 4 | Receptacle - Duplex Red
[5 empty] | N2 | 2 | Receptacle - Duplex Ivory
[5 empty] | NC3 | 1 | Provision Nurse Call 3G
[5 empty] | CB | 1 | Provision Code Blue 1G
[5 empty] | DA | 2 | Provision Data 1G
[5 empty] | SLM | 2 | Vacuum Slide

## 1.10 M-S Type A Type 6
Manufacturer to complete matrix below in highlighted areas. Provide price and information in matrix. Price to be material unit prices sold to Contractor or UC Health. List item cost for each item and add items if needed in matrix.
Single unit
Typical Med-Surg Room - Type A/Type 6
System to match Amico Serenity Series Recessed Panel Wall
Mfg # | to match FW2407-SR-GEN-P and FW2407-SR-GEN-P-BB
Qty | Drawing ID | Description | Project Location | Manufacturer | Manufacturer Description | Model number | List Price | Proposed UC Health Price per Unit | Extended Cost Based on Proposed Price per Unit
12 | 6 | Med-Surg Type A/Type 6 | UC Davis | [5 empty] | 0
10 | 7 | Med-Surg Type A/Type 6 | UC Davis
Total cost | [8 empty] | 0
| Drawing 6 | [8 empty] | Drawing 7
SYSTEM DETAILS
[7 empty] | SYSTEM DETAILS |  |  |  | Sym | QTY |  | Description
[6 empty] | Sym | QTY |  | Description |  | PR | 2 | Panel wall (recessed)
[6 empty] | PR | 1 | Panel wall (recessed) |  |  | O | 4 | Gas outlet, Oxygen
[6 empty] | O | 2 | Gas outlet, Oxygen |  |  | A | 4 | Gas outlet, Med Air
[6 empty] | A | 2 | Gas outlet, Med Air |  |  | V | 4 | Gas outlet, Vacuum
[6 empty] | V | 2 | Gas outlet, Vacuum |  |  | E2 | 8 | Receptacle - Duplex Red
[6 empty] | E2 | 4 | Receptacle - Duplex Red |  |  | N2 | 4 | Receptacle - Duplex Ivory
[6 empty] | N2 | 2 | Receptacle - Duplex Ivory |  |  | UE2 | 4 | Receptacle - USB Duplex Red
[6 empty] | UE2 | 2 | Receptacle - USB Duplex Red |  |  | NC4 | 2 | Provision Nurse Call 4G
[6 empty] | NC4 | 1 | Provision Nurse Call 4G |  |  | CB | 2 | Provision Code Blue 1G
[6 empty] | CB | 1 | Provision Code Blue 1G |  |  | AX | 2 | Provision Auxilary 1G
[6 empty] | AX | 1 | Provision Auxilary 1G |  |  | DA | 8 | Provision Data 1G
[6 empty] | DA | 4 | Provision Data 1G |  |  | SC | 2 | 37 PIN COMM - 12" cable
[6 empty] | SC | 1 | 37 PIN COMM - 12" cable |  |  | BB | 2 | Bed Bumpers - Horizontal pair
[6 empty] | BB | 1 | Bed Bumpers - Horizontal pair |  |  | SLM | 4 | Vacuum Slide
[6 empty] | SLM | 2 | Vacuum Slide |  |  | CO | 2 | Cut Out - 20"W x 16"H
[6 empty] | CO | 1 | Cut Out - 20"W x 16"H |  |  |  | 2 | Stud - 8"
[7 empty] | 2 | Stud - 8"
Note:
[6 empty] | Note: |  |  |  |  | Misalignment of grainy may occur between seams
[6 empty] | Misalignment of grainy may occur between seams |  |  |  |  | of joined panels without reveal or rail
[6 empty] | of joined panels without reveal or rail |  |  |  |  | Med Gas pipes will extend 18" above finished ceiling
Med Gas pipes will extend 18" above finished ceiling
Oxygen 1/2" ID pipe
[6 empty] | Oxygen 1/2" ID pipe |  |  |  |  | Med Air 1/2" ID pipe
[6 empty] | Med Air 1/2" ID pipe |  |  |  |  | Vacuum 3/4" ID pipe
[6 empty] | Vacuum 3/4" ID pipe |  |  |  |  | The client confirms size and colors of bed bumper
The client confirms size and colors of bed bumper

## 1.11 M-S Type AM Type 6
Manufacturer to complete matrix below in highlighted areas. Provide price and information in matrix. Price to be material unit prices sold to Contractor or UC Health. List item cost for each item and add items if needed in matrix.
Mirrord unit Back to Back
Typical Med-Surg Room - Type AM/Type 6
System to match Amico Serenity Series Recessed Panel Wall
Mfg # | to match FW2407-SR-GEN-P-BB
Qty | Drawing ID | Description | Project Location | Manufacturer | Manufacturer Description | Model number | List Price | Proposed UC Health Price per Unit | Extended Cost Based on Proposed Price per Unit
16 | 6.1 | Med-Surg Type AM/Type 6 | UC Davis | [5 empty] | 0
Total cost | [8 empty] | 0
SYSTEM DETAILS
[7 empty] | Sym | QTY |  | Description
[7 empty] | PR | 1 | Panel wall (recessed)
[7 empty] | O | 2 | Gas outlet, Oxygen
[7 empty] | A | 2 | Gas outlet, Med Air
[7 empty] | V | 2 | Gas outlet, Vacuum
[7 empty] | E2 | 4 | Receptacle - Duplex Red
[7 empty] | N2 | 2 | Receptacle - Duplex Ivory
[7 empty] | UE2 | 2 | Receptacle - USB Duplex Red
[7 empty] | NC4 | 1 | Provision Nurse Call 4G
[7 empty] | CB | 1 | Provision Code Blue 1G
[7 empty] | AX | 1 | Provision Auxilary 1G
[7 empty] | DA | 4 | Provision Data 1G
[7 empty] | SC | 1 | 37 PIN COMM - 12" cable
[7 empty] | BB | 1 | Bed Bumpers - Horizontal pair
[7 empty] | SLM | 2 | Vacuum Slide
[7 empty] | CO | 1 | Cut Out - 20"W x 16"H
[8 empty] | 2 | Stud - 8"
Note:
Misalignment of grainy may occur between seams
of joined panels without reveal or rail
Med Gas pipes will extend 18" above finished ceiling
Oxygen 1/2" ID pipe
Med Air 1/2" ID pipe
Vacuum 3/4" ID pipe
The client confirms size and colors of bed bumper

## 1.12 M-S Type B Type 7
Manufacturer to complete matrix below in highlighted areas. Provide price and information in matrix. Price to be material unit prices sold to Contractor or UC Health. List item cost for each item and add items if needed in matrix.
As shown unit
Typical Med-Surg Room - Type B/Type 7
System to match Amico Serenity Series Recessed Panel Wall
Mfg # | to match FW2407-SR-GEN-P
Qty | Drawing ID | Description | Project Location | Manufacturer | Manufacturer Description | Model number | List Price | Proposed UC Health Price per Unit | Extended Cost Based on Proposed Price per Unit
20 | 8 | Med-Surg Type B/Type 7 | UC Davis | [5 empty] | 0
70 | 9 | Med-Surg Type B/Type 7 | UC Davis
Total cost | [8 empty] | 0
Drawing 8 | [8 empty] | Drawing 9
SYSTEM DETAILS
[10 empty] | Sym | QTY |  | Description
[5 empty] | SYSTEM DETAILS |  |  |  |  | PR | 2 | Panel wall (recessed)
|  |  |  | Sym | QTY |  | Description |  |  | O | 4 | Gas outlet, Oxygen
|  |  |  | PR | 1 | Panel wall (recessed) |  |  |  | A | 4 | Gas outlet, Med Air
|  |  |  | O | 2 | Gas outlet, Oxygen |  |  |  | V | 4 | Gas outlet, Vacuum
|  |  |  | A | 2 | Gas outlet, Med Air |  |  |  | E2 | 8 | Receptacle - Duplex Red
|  |  |  | V | 2 | Gas outlet, Vacuum |  |  |  | N2 | 4 | Receptacle - Duplex Ivory
|  |  |  | E2 | 4 | Receptacle - Duplex Red |  |  |  | UE2 | 4 | Receptacle - USB Duplex Red
|  |  |  | N2 | 2 | Receptacle - Duplex Ivory |  |  |  | NC4 | 2 | Provision Nurse Call 4G
|  |  |  | UE2 | 2 | Receptacle - USB Duplex Red |  |  |  | CB | 2 | Provision Code Blue 1G
|  |  |  | NC4 | 1 | Provision Nurse Call 4G |  |  |  | AX | 2 | Provision Auxilary 1G
|  |  |  | CB | 1 | Provision Code Blue 1G |  |  |  | DA | 8 | Provision Data 1G
|  |  |  | AX | 1 | Provision Auxilary 1G |  |  |  | SC | 2 | 37 PIN COMM - 12" cable
|  |  |  | DA | 4 | Provision Data 1G |  |  |  | BB | 2 | Bed Bumpers - Horizontal pair
|  |  |  | SC | 1 | 37 PIN COMM - 12" cable |  |  |  | SLM | 4 | Vacuum Slide
|  |  |  | BB | 1 | Bed Bumpers - Horizontal pair |  |  |  |  | 2 | Stud - 8"
|  |  |  | SLM | 2 | Vacuum Slide
[5 empty] | 2 | Stud - 8" |  |  |  | Note:
Misalignment of grainy may occur between seams
|  |  |  | Note: | [5 empty] | of joined panels without reveal or rail
|  |  |  | Misalignment of grainy may occur between seams | [5 empty] | Med Gas pipes will extend 18" above finished ceiling
of joined panels without reveal or rail
|  |  |  | Med Gas pipes will extend 18" above finished ceiling | [5 empty] | Oxygen 1/2" ID pipe
Med Air 1/2" ID pipe
|  |  |  | Oxygen 1/2" ID pipe | [5 empty] | Vacuum 3/4" ID pipe
|  |  |  | Med Air 1/2" ID pipe | [5 empty] | The client confirms size and colors of bed bumper
Vacuum 3/4" ID pipe
The client confirms size and colors of bed bumper

## 1.13 M-S Type BM Type 7
Manufacturer to complete matrix below in highlighted areas. Provide price and information in matrix. Price to be material unit prices sold to Contractor or UC Health. List item cost for each item and add items if needed in matrix.
Mirrored Unit
Typical Med-Surg Room - Type BM/Type 7
System to match Amico Serenity Series Recessed Panel Wall
Mfg # | to match FW2407-SR-GEN-P
Qty | Drawing ID | Description | Project Location | Manufacturer | Manufacturer Description | Model number | List Price | Proposed UC Health Price per Unit | Extended Cost Based on Proposed Price per Unit
14 | 8.1 | Med-Surg Type BM/Type 7 | UC Davis | [5 empty] | 0
14 | 9.1 | Med-Surg Type BM/Type 7 | UC Davis
Total cost | [8 empty] | 0
Drawing 8.1 and 9.1
SYSTEM DETAILS
[8 empty] | Sym | QTY |  | Description
[8 empty] | PR | 1 | Panel wall (recessed)
[8 empty] | O | 2 | Gas outlet, Oxygen
[8 empty] | A | 2 | Gas outlet, Med Air
[8 empty] | V | 2 | Gas outlet, Vacuum
[8 empty] | E2 | 4 | Receptacle - Duplex Red
[8 empty] | N2 | 2 | Receptacle - Duplex Ivory
[8 empty] | UE2 | 2 | Receptacle - USB Duplex Red
[8 empty] | NC4 | 1 | Provision Nurse Call 4G
[8 empty] | CB | 1 | Provision Code Blue 1G
[8 empty] | AX | 1 | Provision Auxilary 1G
[8 empty] | DA | 4 | Provision Data 1G
[8 empty] | SC | 1 | 37 PIN COMM - 12" cable
[8 empty] | BB | 1 | Bed Bumpers - Horizontal pair
[8 empty] | SLM | 2 | Vacuum Slide
[9 empty] | 2 | Stud - 8"
Note:
Misalignment of grainy may occur between seams
of joined panels without reveal or rail
Med Gas pipes will extend 18" above finished ceiling
Oxygen 1/2" ID pipe
Med Air 1/2" ID pipe
Vacuum 3/4" ID pipe
The client confirms size and colors of bed bumper

## 1.14 M-S Type C Type 8
Manufacturer to complete matrix below in highlighted areas. Provide price and information in matrix. Price to be material unit prices sold to Contractor or UC Health. List item cost for each item and add items if needed in matrix.
Single Unit
Typical Med-Surg Room - Type C/Type 8
System to match Amico Serenity Series Recessed Panel Wall
Mfg # | to match FW2407-SR-GEN-P
Qty | Drawing ID | Description | Project Location | Manufacturer | Manufacturer Description | Model number | List Price | Proposed UC Health Price per Unit | Extended Cost Based on Proposed Price per Unit
1 | 10 | Med-Surg Type C/Type 8 | UC Davis | [5 empty] | 0
Total cost | [8 empty] | 0
SYSTEM DETAILS
[7 empty] | Sym | QTY |  | Description
[7 empty] | PR | 1 | Panel wall (recessed)
[7 empty] | O | 2 | Gas outlet, Oxygen
[7 empty] | A | 2 | Gas outlet, Med Air
[7 empty] | V | 2 | Gas outlet, Vacuum
[7 empty] | E2 | 4 | Receptacle - Duplex Red
[7 empty] | N2 | 2 | Receptacle - Duplex Ivory
[7 empty] | UE2 | 2 | Receptacle - USB Duplex Red
[7 empty] | NC4 | 1 | Provision Nurse Call 4G
[7 empty] | CB | 1 | Provision Code Blue 1G
[7 empty] | AX | 1 | Provision Auxilary 1G
[7 empty] | DA | 4 | Provision Data 1G
[7 empty] | LV | 1 | Provision Low Voltage 1G
[7 empty] | SC | 1 | 37 PIN COMM - 12" cable
[7 empty] | BB | 1 | Bed Bumpers - Horizontal pair
[7 empty] | SLM | 2 | Vacuum Slide
[7 empty] | CO | 1 | Cut Out - 20"W X 16"H
[8 empty] | 2 | Stud - 8"
Note:
Misalignment of grainy may occur between seams
of joined panels without reveal or rail
Med Gas pipes will extend 18" above finished ceiling
Oxygen 1/2" ID pipe
Med Air 1/2" ID pipe
Vacuum 3/4" ID pipe
The client confirms size and colors of bed bumper

## 1.15 M-S Type CM Type 8
Manufacturer to complete matrix below in highlighted areas. Provide price and information in matrix. Price to be material unit prices sold to Contractor or UC Health. List item cost for each item and add items if needed in matrix.
Mirrored Unit
Typical Med-Surg Room - Type CM/Type 8
System to match Amico Serenity Series Recessed Panel Wall
Mfg # | to match FW2407-SR-GEN-P
Qty | Drawing ID | Description | Project Location | Manufacturer | Manufacturer Description | Model number | List Price | Proposed UC Health Price per Unit | Extended Cost Based on Proposed Price per Unit
1 | 10.1 | Med-Surg Type CM/Type 8 | UC Davis | [5 empty] | 0
Total cost | [8 empty] | 0
SYSTEM DETAILS
[7 empty] | Sym | QTY |  | Description
[7 empty] | PR | 1 | Panel wall (recessed)
[7 empty] | O | 2 | Gas outlet, Oxygen
[7 empty] | A | 2 | Gas outlet, Med Air
[7 empty] | V | 2 | Gas outlet, Vacuum
[7 empty] | E2 | 4 | Receptacle - Duplex Red
[7 empty] | N2 | 2 | Receptacle - Duplex Ivory
[7 empty] | UE2 | 2 | Receptacle - USB Duplex Red
[7 empty] | NC4 | 1 | Provision Nurse Call 4G
[7 empty] | CB | 1 | Provision Code Blue 1G
[7 empty] | AX | 1 | Provision Auxilary 1G
[7 empty] | DA | 4 | Provision Data 1G
[7 empty] | LV | 1 | Provision Low Voltage 1G
[7 empty] | SC | 1 | 37 PIN COMM - 12" cable
[7 empty] | BB | 1 | Bed Bumpers - Horizontal pair
[7 empty] | SLM | 2 | Vacuum Slide
[7 empty] | CO | 1 | Cut Out - 20"W X 16"H
[8 empty] | 2 | Stud - 8"
Note:
Misalignment of grainy may occur between seams
of joined panels without reveal or rail
Med Gas pipes will extend 18" above finished ceiling
Oxygen 1/2" ID pipe
Med Air 1/2" ID pipe
Vacuum 3/4" ID pipe
The client confirms size and colors of bed bumper

## 1.16 M-S Type D Type 9
Manufacturer to complete matrix below in highlighted areas. Provide price and information in matrix. Price to be material unit prices sold to Contractor or UC Health. List item cost for each item and add items if needed in matrix.
Single Unit
Typical Med-Surg Room - Type D/Type 9
System to match Amico Serenity Series Recessed Panel Wall
Mfg # | to match FW2407-SR-GEN-P
Qty | Drawing ID | Description | Project Location | Manufacturer | Manufacturer Description | Model number | List Price | Proposed UC Health Price per Unit | Extended Cost Based on Proposed Price per Unit
2 | 11 | Med-Surg Type D/Type 9 | UC Davis | [5 empty] | 0
6 | 12 | Med-Surg Type D/Type 9 | UC Davis
Total cost | [8 empty] | 0
Drawing 11 | [9 empty] | Drawing 12 |  | SYSTEM DETAILS
[11 empty] | Sym | QTY |  | Description
[6 empty] | SYSTEM DETAILS |  |  |  |  | PR | 2 | Panel wall (recessed)
[5 empty] | Sym | QTY |  | Description |  |  | O | 4 | Gas outlet, Oxygen
[5 empty] | PR | 1 | Panel wall (recessed) |  |  |  | A | 4 | Gas outlet, Med Air
[5 empty] | O | 2 | Gas outlet, Oxygen |  |  |  | V | 4 | Gas outlet, Vacuum
[5 empty] | A | 2 | Gas outlet, Med Air |  |  |  | E2 | 8 | Receptacle - Duplex Red
[5 empty] | V | 2 | Gas outlet, Vacuum |  |  |  | N2 | 4 | Receptacle - Duplex Ivory
[5 empty] | E2 | 4 | Receptacle - Duplex Red |  |  |  | UE2 | 4 | Receptacle - USB Duplex Red
[5 empty] | N2 | 2 | Receptacle - Duplex Ivory |  |  |  | NC4 | 4 | Provision Nurse Call 4G
[5 empty] | UE2 | 2 | Receptacle - USB Duplex Red |  |  |  | CB | 4 | Provision Code Blue 1G
[5 empty] | NC4 | 1 | Provision Nurse Call 4G |  |  |  | AX | 4 | Provision Auxilary 1G
[5 empty] | CB | 1 | Provision Code Blue 1G |  |  |  | DA | 8 | Provision Data 1G
[5 empty] | AX | 1 | Provision Auxilary 1G |  |  |  | LV | 2 | Provision Low Voltage 1G
[5 empty] | DA | 4 | Provision Data 1G |  |  |  | SC | 2 | 37 PIN COMM - 12" cable
[5 empty] | LV | 1 | Provision Low Voltage 1G |  |  |  | BB | 2 | Bed Bumpers - Horizontal pair
[5 empty] | SC | 1 | 37 PIN COMM - 12" cable |  |  |  | SLM | 2 | Vacuum Slide
[5 empty] | BB | 1 | Bed Bumpers - Horizontal pair |  |  |  |  | 2 | Stud - 8"
[5 empty] | SLM | 2 | Vacuum Slide
[6 empty] | 2 | Stud - 8" |  |  |  | Note:
Misalignment of grainy may occur between seams
[5 empty] | Note: | [5 empty] | of joined panels without reveal or rail
[5 empty] | Misalignment of grainy may occur between seams | [5 empty] | Med Gas pipes will extend 18" above finished ceiling
of joined panels without reveal or rail
[5 empty] | Med Gas pipes will extend 18" above finished ceiling | [5 empty] | Oxygen 1/2" ID pipe
Med Air 1/2" ID pipe
[5 empty] | Oxygen 1/2" ID pipe | [5 empty] | Vacuum 3/4" ID pipe
[5 empty] | Med Air 1/2" ID pipe | [5 empty] | The client confirms size and colors of bed bumper
Vacuum 3/4" ID pipe
The client confirms size and colors of bed bumper

## 1.17 M-S Type DM Type 9
Manufacturer to complete matrix below in highlighted areas. Provide price and information in matrix. Price to be material unit prices sold to Contractor or UC Health. List item cost for each item and add items if needed in matrix.
Mirrored and Back to Back Unit
Typical Med-Surg Room - Type DM/Type 9
System to match Amico Serenity Series Recessed Panel Wall
Mfg # | to match FW2407-SR-GEN-P and FW2407-SR-GEN-P-BB
Qty | Drawing ID | Description | Project Location | Manufacturer | Manufacturer Description | Model number | List Price | Proposed UC Health Price per Unit | Extended Cost Based on Proposed Price per Unit
2 | 11.1 | Med-Surg Type DM/Type 9 | UC Davis | [5 empty] | 0
2 | 12.1 | Med-Surg Type DM/Type 9 | UC Davis
Total cost | [8 empty] | 0
Drawing 11.1 | [9 empty] | Drawing 12.1
SYSTEM DETAILS
[5 empty] | Sym | QTY |  | Description
[5 empty] | PR | 1 | Panel wall (recessed)
[5 empty] | O | 2 | Gas outlet, Oxygen
[5 empty] | A | 2 | Gas outlet, Med Air
[5 empty] | V | 2 | Gas outlet, Vacuum
[5 empty] | E2 | 4 | Receptacle - Duplex Red
[5 empty] | N2 | 2 | Receptacle - Duplex Ivory
[5 empty] | UE2 | 2 | Receptacle - USB Duplex Red
[5 empty] | NC4 | 1 | Provision Nurse Call 4G
[5 empty] | CB | 1 | Provision Code Blue 1G
[5 empty] | AX | 1 | Provision Auxilary 1G
[5 empty] | DA | 4 | Provision Data 1G
[5 empty] | LV | 1 | Provision Low Voltage 1G
[5 empty] | SC | 1 | 37 PIN COMM - 12" cable
[5 empty] | BB | 1 | Bed Bumpers - Horizontal pair
[5 empty] | SLM | 2 | Vacuum Slide
[6 empty] | 2 | Stud - 8"
Note:
Misalignment of grainy may occur between seams
of joined panels without reveal or rail
Med Gas pipes will extend 18" above finished ceiling
Oxygen 1/2" ID pipe
Med Air 1/2" ID pipe
Vacuum 3/4" ID pipe
The client confirms size and colors of bed bumper

## 1.18 ICU Type E Type 10
Manufacturer to complete matrix below in highlighted areas. Provide price and information in matrix. Price to be material unit prices sold to Contractor or UC Health. List item cost for each item and add items if needed in matrix.
Single Unit
Typical ICU Room - Type E/Type 10
System to match Amico Serenity Series Recessed Panel Wall
Mfg # | to match FW2848-SR-GEN-P and FW2848-SR-GEN-P-BB
Qty | Drawing ID | Description | Project Location | Manufacturer | Manufacturer Description | Model number | List Price | Proposed UC Health Price per Unit | Extended Cost Based on Proposed Price per Unit
5 | 13 | ICU Type E/Type 10 | UC Davis | [5 empty] | 0
20 | 14 | ICU Type E/Type 10 | UC Davis
Total cost | [8 empty] | 0
Drawing 13 | [8 empty] | Drawing 14
SYSTEM DETAILS
[5 empty] | Sym | QTY |  | Description |  |  | SYSTEM DETAILS
[5 empty] | PR | 1 | Panel wall (recessed) |  |  | Sym | QTY |  | Description
[5 empty] | O | 4 | Gas outlet, Oxygen |  |  | PR | 2 | Panel wall (recessed)
[5 empty] | A | 2 | Gas outlet, Med Air |  |  | O | 8 | Gas outlet, Oxygen
[5 empty] | V | 4 | Gas outlet, Vacuum |  |  | A | 4 | Gas outlet, Med Air
[5 empty] | E2 | 8 | Receptacle - Duplex Red |  |  | V | 8 | Gas outlet, Vacuum
[5 empty] | N2 | 4 | Receptacle - Duplex Ivory |  |  | E2 | 16 | Receptacle - Duplex Red
[5 empty] | UE2 | 2 | Receptacle - USB Duplex Red |  |  | N2 | 8 | Receptacle - Duplex Ivory
[5 empty] | NC4 | 1 | Provision Nurse Call 4G |  |  | UE2 | 4 | Receptacle - USB Duplex Red
[5 empty] | CB | 1 | Provision Code Blue 1G |  |  | NC4 | 2 | Provision Nurse Call 4G
[5 empty] | AX | 1 | Provision Auxilary 1G |  |  | CB | 2 | Provision Code Blue 1G
[5 empty] | DA | 4 | Provision Data 1G |  |  | AX | 2 | Provision Auxilary 1G
[5 empty] | HC | 2 | Horizontal Channel 23" |  |  | DA | 8 | Provision Data 1G
[5 empty] | SC | 1 | 37 PIN COMM - 12" cable |  |  | HC | 4 | Horizontal Channel 23"
[5 empty] | BB | 1 | Bed Bumpers - Horizontal pair |  |  | SC | 2 | 37 PIN COMM - 12" cable
[5 empty] | SLM | 4 | Vacuum Slide |  |  | BB | 2 | Bed Bumpers - Horizontal pair
[5 empty] | CO | 1 | Cut Out - 20"W X 16"H |  |  | SLM | 8 | Vacuum Slide
[6 empty] | 2 | Stud - 8" |  |  | CO | 2 | Cut Out - 20"W X 16"H
[11 empty] | 2 | Stud - 8"
Note:
[5 empty] | Misalignment of grainy may occur between seams |  |  |  |  | Note:
[5 empty] | of joined panels without reveal or rail |  |  |  |  | Misalignment of grainy may occur between seams
[5 empty] | Med Gas pipes will extend 18" above finished ceiling |  |  |  |  | of joined panels without reveal or rail
Med Gas pipes will extend 18" above finished ceiling
Oxygen 1/2" ID pipe
[5 empty] | Med Air 1/2" ID pipe |  |  |  |  | Oxygen 1/2" ID pipe
[5 empty] | Vacuum 3/4" ID pipe |  |  |  |  | Med Air 1/2" ID pipe
[5 empty] | The client confirms size and colors of bed bumper |  |  |  |  | Vacuum 3/4" ID pipe
The client confirms size and colors of bed bumper
The client confirms size and colors of bed bumper

## 1.19 ICU Type EM Type 10
Manufacturer to complete matrix below in highlighted areas. Provide price and information in matrix. Price to be material unit prices sold to Contractor or UC Health. List item cost for each item and add items if needed in matrix.
Mirrored Unit
Typical ICU Room - Type EM/Type 10
System to match Amico Serenity Series Recessed Panel Wall
Mfg # | to match FW2848-SR-GEN-P and FW2848-SR-GEN-P-BB
Qty | Drawing ID | Description | Project Location | Manufacturer | Manufacturer Description | Model number | List Price | Proposed UC Health Price per Unit | Extended Cost Based on Proposed Price per Unit
5 | 13.1 | ICU Type EM/Type 10 | UC Davis | [5 empty] | 0
5 | 14.1 | ICU Type EM/Type 10 | UC Davis
Total cost | [8 empty] | 0
Drawing 13.1 | [9 empty] | Drawing 14.1
SYSTEM DETAILS
[6 empty] | Sym | QTY |  | Description
[6 empty] | PR | 1 | Panel wall (recessed)
[6 empty] | O | 4 | Gas outlet, Oxygen
[6 empty] | A | 2 | Gas outlet, Med Air
[6 empty] | V | 4 | Gas outlet, Vacuum
[6 empty] | E2 | 8 | Receptacle - Duplex Red
[6 empty] | N2 | 4 | Receptacle - Duplex Ivory
[6 empty] | UE2 | 2 | Receptacle - USB Duplex Red
[6 empty] | NC4 | 1 | Provision Nurse Call 4G
[6 empty] | CB | 1 | Provision Code Blue 1G
[6 empty] | AX | 1 | Provision Auxilary 1G
[6 empty] | DA | 4 | Provision Data 1G
[6 empty] | HC | 2 | Horizontal Channel 23"
[6 empty] | SC | 1 | 37 PIN COMM - 12" cable
[6 empty] | BB | 1 | Bed Bumpers - Horizontal pair
[6 empty] | SLM | 4 | Vacuum Slide
[6 empty] | CO | 1 | Cut Out - 20"W X 16"H
[7 empty] | 2 | Stud - 8"
Note:
Misalignment of grainy may occur between seams
of joined panels without reveal or rail
Med Gas pipes will extend 18" above finished ceiling
Oxygen 1/2" ID pipe
Med Air 1/2" ID pipe
Vacuum 3/4" ID pipe
The client confirms size and colors of bed bumper

## 1.20 ICU_Acuity Type F Type 11
Manufacturer to complete matrix below in highlighted areas. Provide price and information in matrix. Price to be material unit prices sold to Contractor or UC Health. List item cost for each item and add items if needed in matrix.
Back to Back Unit
Typical ICU Acuity Room - Type F/Type 11
System to match Amico Serenity Series Recessed Panel Wall
Mfg # | to match FW2848-SR-GEN-P and FW2848-SR-GEN-P-BB
Qty | Drawing ID | Description | Project Location | Manufacturer | Manufacturer Description | Model number | List Price | Proposed UC Health Price per Unit | Extended Cost Based on Proposed Price per Unit
3 | 15 | ICU Acuity Type F/Type 11 | UC Davis | [5 empty] | 0
13 | 16 | ICU Acuity Type F/Type 11 | UC Davis
Total cost | [8 empty] | 0
Drawing 15 | [10 empty] | Drawing 16
SYSTEM DETAILS
[7 empty] | Sym | QTY |  | Description |  |  | SYSTEM DETAILS
[7 empty] | PR | 1 | Panel wall (recessed) |  |  | Sym | QTY |  | Description
[7 empty] | O | 4 | Gas outlet, Oxygen |  |  | PR | 2 | Panel wall (recessed)
[7 empty] | A | 2 | Gas outlet, Med Air |  |  | O | 8 | Gas outlet, Oxygen
[7 empty] | V | 4 | Gas outlet, Vacuum |  |  | A | 4 | Gas outlet, Med Air
[7 empty] | E2 | 8 | Receptacle - Duplex Red |  |  | V | 8 | Gas outlet, Vacuum
[7 empty] | N2 | 4 | Receptacle - Duplex Ivory |  |  | E2 | 16 | Receptacle - Duplex Red
[7 empty] | UE2 | 2 | Receptacle - USB Duplex Red |  |  | N2 | 8 | Receptacle - Duplex Ivory
[7 empty] | NC4 | 1 | Provision Nurse Call 4G |  |  | UE2 | 4 | Receptacle - USB Duplex Red
[7 empty] | CB | 1 | Provision Code Blue 1G |  |  | NC4 | 2 | Provision Nurse Call 4G
[7 empty] | AX | 1 | Provision Auxilary 1G |  |  | CB | 2 | Provision Code Blue 1G
[7 empty] | DA | 4 | Provision Data 1G |  |  | AX | 2 | Provision Auxilary 1G
[7 empty] | HC | 2 | Horizontal Channel 23" |  |  | DA | 8 | Provision Data 1G
[7 empty] | SC | 1 | 37 PIN COMM - 12" cable |  |  | HC | 4 | Horizontal Channel 23"
[7 empty] | BB | 1 | Bed Bumpers - Horizontal pair |  |  | SC | 2 | 37 PIN COMM - 12" cable
[7 empty] | SLM | 4 | Vacuum Slide |  |  | BB | 2 | Bed Bumpers - Horizontal pair
[8 empty] | 2 | Stud - 8" |  |  | SLM | 8 | Vacuum Slide
[13 empty] | 2 | Stud - 8"
Note:
[7 empty] | Misalignment of grainy may occur between seams |  |  |  |  | Note:
[7 empty] | of joined panels without reveal or rail |  |  |  |  | Misalignment of grainy may occur between seams
[7 empty] | Med Gas pipes will extend 18" above finished ceiling |  |  |  |  | of joined panels without reveal or rail
Med Gas pipes will extend 18" above finished ceiling
Oxygen 1/2" ID pipe
[7 empty] | Med Air 1/2" ID pipe |  |  |  |  | Oxygen 1/2" ID pipe
[7 empty] | Vacuum 3/4" ID pipe |  |  |  |  | Med Air 1/2" ID pipe
[7 empty] | The client confirms size and colors of bed bumper |  |  |  |  | Vacuum 3/4" ID pipe
The client confirms size and colors of bed bumper

## 1.21 ICU_Acuity Type FM Type 11
Manufacturer to complete matrix below in highlighted areas. Provide price and information in matrix. Price to be material unit prices sold to Contractor or UC Health. List item cost for each item and add items if needed in matrix.
Mirrored Unit
Typical ICU Acuity Room - Type FM/Type 11
System to match Amico Serenity Series Recessed Panel Wall
Mfg # | to match FW2848-SR-GEN-P and FW2848-SR-GEN-P-BB
Qty | Drawing ID | Description | Project Location | Manufacturer | Manufacturer Description | Model number | List Price | Proposed UC Health Price per Unit | Extended Cost Based on Proposed Price per Unit
3 | 15.1 | ICU Acuity Type FM/Type 11 | UC Davis | [5 empty] | 0
3 | 16.1 | ICU Acuity Type FM/Type 11 | UC Davis
Total cost | [8 empty] | 0
Drawing 15.1 | [10 empty] | Drawing 16.1
SYSTEM DETAILS
[7 empty] | Sym | QTY |  | Description
[7 empty] | PR | 1 | Panel wall (recessed)
[7 empty] | O | 4 | Gas outlet, Oxygen
[7 empty] | A | 2 | Gas outlet, Med Air
[7 empty] | V | 4 | Gas outlet, Vacuum
[7 empty] | E2 | 8 | Receptacle - Duplex Red
[7 empty] | N2 | 4 | Receptacle - Duplex Ivory
[7 empty] | UE2 | 2 | Receptacle - USB Duplex Red
[7 empty] | NC4 | 1 | Provision Nurse Call 4G
[7 empty] | CB | 1 | Provision Code Blue 1G
[7 empty] | AX | 1 | Provision Auxilary 1G
[7 empty] | DA | 4 | Provision Data 1G
[7 empty] | HC | 2 | Horizontal Channel 23"
[7 empty] | SC | 1 | 37 PIN COMM - 12" cable
[7 empty] | BB | 1 | Bed Bumpers - Horizontal pair
[7 empty] | SLM | 4 | Vacuum Slide
[8 empty] | 2 | Stud - 8"
Note:
Misalignment of grainy may occur between seams
of joined panels without reveal or rail
Med Gas pipes will extend 18" above finished ceiling
Oxygen 1/2" ID pipe
Med Air 1/2" ID pipe
Vacuum 3/4" ID pipe
The client confirms size and colors of bed bumper

## 1.22 ICU Type G Typ 12
Manufacturer to complete matrix below in highlighted areas. Provide price and information in matrix. Price to be material unit prices sold to Contractor or UC Health. List item cost for each item and add items if needed in matrix.
Single Unit
Typical ICU Room - Type G/Type 12
System to match Amico Serenity Series Recessed Panel Wall
Mfg # | to match FW2848-SR-GEN-P
Qty | Drawing ID | Description | Project Location | Manufacturer | Manufacturer Description | Model number | List Price | Proposed UC Health Price per Unit | Extended Cost Based on Proposed Price per Unit
1 | 17 | ICU Acuity Type G/Type 12 | UC Davis | [5 empty] | 0
Total cost | [8 empty] | 0
SYSTEM DETAILS
[7 empty] | Sym | QTY |  | Description
[7 empty] | PR | 1 | Panel wall (recessed)
[7 empty] | O | 4 | Gas outlet, Oxygen
[7 empty] | A | 2 | Gas outlet, Med Air
[7 empty] | V | 4 | Gas outlet, Vacuum
[7 empty] | E2 | 8 | Receptacle - Duplex Red
[7 empty] | N2 | 4 | Receptacle - Duplex Ivory
[7 empty] | UE2 | 2 | Receptacle - USB Duplex Red
[7 empty] | NC4 | 1 | Provision Nurse Call 4G
[7 empty] | CB | 1 | Provision Code Blue 1G
[7 empty] | AX | 1 | Provision Auxilary 1G
[7 empty] | DA | 4 | Provision Data 1G
[7 empty] | LV | 1 | Provision Low Voltage 1G
[7 empty] | HC | 2 | Horizontal Channel 23"
[7 empty] | SC | 1 | 37 PIN COMM - 12" cable
[7 empty] | BB | 1 | Bed Bumpers - Horizontal pair
[7 empty] | SLM | 4 | Vacuum Slide
[7 empty] | CO | 1 | Cut Out - 20"W X 16"H
[8 empty] | 2 | Stud - 8"
Note:
Misalignment of grainy may occur between seams
of joined panels without reveal or rail
Med Gas pipes will extend 18" above finished ceiling
Oxygen 1/2" ID pipe
Med Air 1/2" ID pipe
Vacuum 3/4" ID pipe
The client confirms size and colors of bed bumper

## 1.23 ICU Type GM Typ 12
Manufacturer to complete matrix below in highlighted areas. Provide price and information in matrix. Price to be material unit prices sold to Contractor or UC Health. List item cost for each item and add items if needed in matrix.
Mirrored Unit
Typical ICU Room - Type GM/Type 12
System to match Amico Serenity Series Recessed Panel Wall
Mfg # | to match FW2848-SR-GEN-P
Qty | Drawing ID | Description | Project Location | Manufacturer | Manufacturer Description | Model number | List Price | Proposed UC Health Price per Unit | Extended Cost Based on Proposed Price per Unit
1 | 17.1 | ICU Acuity Type GM/Type 12 | UC Davis | [5 empty] | 0
Total cost | [8 empty] | 0
SYSTEM DETAILS
[6 empty] | Sym | QTY |  | Description
[6 empty] | PR | 1 | Panel wall (recessed)
[6 empty] | O | 4 | Gas outlet, Oxygen
[6 empty] | A | 2 | Gas outlet, Med Air
[6 empty] | V | 4 | Gas outlet, Vacuum
[6 empty] | E2 | 8 | Receptacle - Duplex Red
[6 empty] | N2 | 4 | Receptacle - Duplex Ivory
[6 empty] | UE2 | 2 | Receptacle - USB Duplex Red
[6 empty] | NC4 | 1 | Provision Nurse Call 4G
[6 empty] | CB | 1 | Provision Code Blue 1G
[6 empty] | AX | 1 | Provision Auxilary 1G
[6 empty] | DA | 4 | Provision Data 1G
[6 empty] | LV | 1 | Provision Low Voltage 1G
[6 empty] | HC | 2 | Horizontal Channel 23"
[6 empty] | SC | 1 | 37 PIN COMM - 12" cable
[6 empty] | BB | 1 | Bed Bumpers - Horizontal pair
[6 empty] | SLM | 4 | Vacuum Slide
[6 empty] | CO | 1 | Cut Out - 20"W X 16"H
[7 empty] | 2 | Stud - 8"
Note:
Misalignment of grainy may occur between seams
of joined panels without reveal or rail
Med Gas pipes will extend 18" above finished ceiling
Oxygen 1/2" ID pipe
Med Air 1/2" ID pipe
Vacuum 3/4" ID pipe
The client confirms size and colors of bed bumper

## 1.24 ICU Type H Typ 13
Manufacturer to complete matrix below in highlighted areas. Provide price and information in matrix. Price to be material unit prices sold to Contractor or UC Health. List item cost for each item and add items if needed in matrix.
Mirrored Unit
Typical ICU Room - Type H/Type 13
System to match Amico Serenity Series Recessed Panel Wall
Mfg # | to match FW2848-SR-GEN-P and FW2848-SR-GEN-P-BB
Qty | Drawing ID | Description | Project Location | Manufacturer | Manufacturer Description | Model number | List Price | Proposed UC Health Price per Unit | Extended Cost Based on Proposed Price per Unit
1 | 18 | ICU Type H/Type 13 | UC Davis | [5 empty] | 0
4 | 19 | ICU Type H/Type 13 | UC Davis
Total cost | [8 empty] | 0
Drawing 18 | [9 empty] | Drawing 19
SYSTEM DETAILS
[6 empty] | Sym | QTY |  | Description |  |  | SYSTEM DETAILS
[6 empty] | PR | 1 | Panel wall (recessed) |  |  | Sym | QTY |  | Description
[6 empty] | O | 4 | Gas outlet, Oxygen |  |  | PR | 2 | Panel wall (recessed)
[6 empty] | A | 2 | Gas outlet, Med Air |  |  | O | 8 | Gas outlet, Oxygen
[6 empty] | V | 4 | Gas outlet, Vacuum |  |  | A | 4 | Gas outlet, Med Air
[6 empty] | E2 | 8 | Receptacle - Duplex Red |  |  | V | 8 | Gas outlet, Vacuum
[6 empty] | N2 | 4 | Receptacle - Duplex Ivory |  |  | E2 | 16 | Receptacle - Duplex Red
[6 empty] | UE2 | 2 | Receptacle - USB Duplex Red |  |  | N2 | 8 | Receptacle - Duplex Ivory
[6 empty] | NC4 | 1 | Provision Nurse Call 4G |  |  | UE2 | 4 | Receptacle - USB Duplex Red
[6 empty] | CB | 1 | Provision Code Blue 1G |  |  | NC4 | 2 | Provision Nurse Call 4G
[6 empty] | AX | 1 | Provision Auxilary 1G |  |  | CB | 2 | Provision Code Blue 1G
[6 empty] | DA | 4 | Provision Data 1G |  |  | AX | 2 | Provision Auxilary 1G
[6 empty] | LV | 1 | Provision Low Voltage 1G |  |  | DA | 8 | Provision Data 1G
[6 empty] | HC | 2 | Horizontal Channel 23" |  |  | LV | 2 | Provision Low Voltage 1G
[6 empty] | SC | 1 | 37 PIN COMM - 12" cable |  |  | HC | 4 | Horizontal Channel 23"
[6 empty] | BB | 1 | Bed Bumpers - Horizontal pair |  |  | SC | 2 | 37 PIN COMM - 12" cable
[6 empty] | SLM | 4 | Vacuum Slide |  |  | BB | 2 | Bed Bumpers - Horizontal pair
[7 empty] | 2 | Stud - 8" |  |  | SLM | 8 | Vacuum Slide
[12 empty] | 2 | Stud - 8"
Note:
[6 empty] | Misalignment of grainy may occur between seams |  |  |  |  | Note:
[6 empty] | of joined panels without reveal or rail |  |  |  |  | Misalignment of grainy may occur between seams
[6 empty] | Med Gas pipes will extend 18" above finished ceiling |  |  |  |  | of joined panels without reveal or rail
Med Gas pipes will extend 18" above finished ceiling
Oxygen 1/2" ID pipe
[6 empty] | Med Air 1/2" ID pipe |  |  |  |  | Oxygen 1/2" ID pipe
[6 empty] | Vacuum 3/4" ID pipe |  |  |  |  | Med Air 1/2" ID pipe
[6 empty] | The client confirms size and colors of bed bumper |  |  |  |  | Vacuum 3/4" ID pipe
The client confirms size and colors of bed bumper

## 1.25 ICU Type HM Typ 13
Manufacturer to complete matrix below in highlighted areas. Provide price and information in matrix. Price to be material unit prices sold to Contractor or UC Health. List item cost for each item and add items if needed in matrix.
Mirrored Unit
Typical ICU Room - Type HM/Type 13
System to match Amico Serenity Series Recessed Panel Wall
Mfg # | to match FW2848-SR-GEN-P and FW2848-SR-GEN-P-BB
Qty | Drawing ID | Description | Project Location | Manufacturer | Manufacturer Description | Model number | List Price | Proposed UC Health Price per Unit | Extended Cost Based on Proposed Price per Unit
1 | 18.1 | ICU Type HM/Type 13 | UC Davis | [5 empty] | 0
1 | 19.1 | ICU Type HM/Type 13 | UC Davis
Total cost | [8 empty] | 0
Drawing 18.1 | [9 empty] | Drawing 19.1
SYSTEM DETAILS
[5 empty] | Sym | QTY |  | Description
[5 empty] | PR | 1 | Panel wall (recessed)
[5 empty] | O | 4 | Gas outlet, Oxygen
[5 empty] | A | 2 | Gas outlet, Med Air
[5 empty] | V | 4 | Gas outlet, Vacuum
[5 empty] | E2 | 8 | Receptacle - Duplex Red
[5 empty] | N2 | 4 | Receptacle - Duplex Ivory
[5 empty] | UE2 | 2 | Receptacle - USB Duplex Red
[5 empty] | NC4 | 1 | Provision Nurse Call 4G
[5 empty] | CB | 1 | Provision Code Blue 1G
[5 empty] | AX | 1 | Provision Auxilary 1G
[5 empty] | DA | 4 | Provision Data 1G
[5 empty] | LV | 1 | Provision Low Voltage 1G
[5 empty] | HC | 2 | Horizontal Channel 23"
[5 empty] | SC | 1 | 37 PIN COMM - 12" cable
[5 empty] | BB | 1 | Bed Bumpers - Horizontal pair
[5 empty] | SLM | 4 | Vacuum Slide
[6 empty] | 2 | Stud - 8"
Note:
Misalignment of grainy may occur between seams
of joined panels without reveal or rail
Med Gas pipes will extend 18" above finished ceiling
Oxygen 1/2" ID pipe
Med Air 1/2" ID pipe
Vacuum 3/4" ID pipe
The client confirms size and colors of bed bumper

## 1.26 R M-S Single
Manufacturer to complete matrix below in highlighted areas. Provide price and information in matrix. Price to be material unit prices sold to Contractor or UC Health. List item cost for each item and add items if needed in matrix.
Single Occupancy Unit
Typical Med-Surg Room
System to match
Mfg # | to match
Qty | Drawing ID | Description | Project Location | Manufacturer | Manufacturer Description | Model number | List Price | Proposed UC Health Price per Unit | Extended Cost Based on Proposed Price per Unit
75 | 1/A641 |  | UCLA Resnick - Renovation | [5 empty] | 0
System Requirements
2 |  | Electrical: 2 Critical (Duplex) | UCLA Resnick - Renovation
4 |  | Normal (Duplex), 12 total on the head wall | UCLA Resnick - Renovation
1 |  | Medical Air | UCLA Resnick - Renovation
2 |  | Oxygen | UCLA Resnick - Renovation
2 |  | Medical Vacuum | UCLA Resnick - Renovation
|  | Plumbing: current layout assumes | UCLA Resnick - Renovation
75 |  | Bed locator | UCLA Resnick - Renovation
Total cost | [8 empty] | 0
Notes:
1. Refer to matrix for quantities of electrical and medical gases for location. Refer to photos and existing drawings for additional information. Provide a similar to the existing Hill-Rom headwalls in photos.
2. The location of medical gases and electrical outlets in preliminary design. The locations and quantities are subject to change during final development.
3. An attached workstation is intended for double occupancy rooms – quantity 12. Plan to locate a similar workstation as shown in photo. Specification is not finalized. Do not include the workstation in pricing. See photos below for workstation reference.
4. This project is for UCLA Resnick building and is a renovation. The existing layout was for psychiatric and will change to a high acute medical surgery room. The gases and electrical will be relocated from existing. The only headwalls that are required to be tamper proof are the 2 psychiatric rooms.
5. All headwalls are surface mounted except the 2 in Behavioral Health.

## 1.27 R M-S Single ALT
Manufacturer to complete matrix below in highlighted areas. Provide price and information in matrix. Price to be material unit prices sold to Contractor or UC Health. List item cost for each item and add items if needed in matrix.
Single Occupancy Unit
Typical Med-Surg Room
System to match - Amico NuLook Manifold System
Mfg # | to match
Qty | Drawing ID | Description | Project Location | Manufacturer | Manufacturer Description | Model number | List Price | Proposed UC Health Price per Unit | Extended Cost Based on Proposed Price per Unit
75 | 1/A641 | Manufacturer to design a prefab type headwall to match requirements below. Specifications to match Amico Serenity Series. | UCLA Resnick - Renovation | [5 empty] | 0
|  | Estimated Dimensions - 84" H x 96" W and 6" above finished floor | UCLA Resnick - Renovation
| Note | Headwalls required to have rail for monitor shown below | UCLA Resnick - Renovation
System Requirements
2 |  | Electrical: 2 Critical (Duplex) | UCLA Resnick - Renovation
4 |  | Normal (Duplex), 12 total on the head wall | UCLA Resnick - Renovation
1 |  | Medical Air | UCLA Resnick - Renovation
2 |  | Oxygen | UCLA Resnick - Renovation
2 |  | Medical Vacuum | UCLA Resnick - Renovation
|  | Plumbing: current layout assumes | UCLA Resnick - Renovation
75 |  | Bed locator | UCLA Resnick - Renovation
Total cost | [8 empty] | 0
Notes:
1. Refer to matrix for quantities of electrical and medical gases for location. Refer to photos and existing drawings for additional information. Provide a similar to the existing Hill-Rom headwalls in photos.
2. The location of medical gases and electrical outlets in preliminary design. The locations and quantities are subject to change during final development.
3. An attached workstation is intended for double occupancy rooms – quantity 12. Plan to locate a similar workstation as shown in photo. Specification is not finalized. Do not include the workstation in pricing. See photos below for workstation reference.
4. This project is for UCLA Resnick building and is a renovation. The existing layout was for psychiatric and will change to a high acute medical surgery room. The gases and electrical will be relocated from existing. The only headwalls that are required to be tamper proof are the 2 psychiatric rooms.
5. All headwalls are surface mounted except the 2 in Behavioral Health.

## 1.28 R M-S Double Occupancy
Manufacturer to complete matrix below in highlighted areas. Provide price and information in matrix. Price to be material unit prices sold to Contractor or UC Health. List item cost for each item and add items if needed in matrix.
Double Occupancy Unit
Typical Med-Surg Room
System to match
Mfg # | to match
Qty | Drawing ID | Description | Project Location | Manufacturer | Manufacturer Description | Model number | List Price | Proposed UC Health Price per Unit | Extended Cost Based on Proposed Price per Unit
24 | A640.09 |  | UCLA Resnick - Renovation | [5 empty] | 0
System Requirements
2 |  | Electrical: 2 Critical (Duplex) | UCLA Resnick - Renovation
4 |  | Normal (Duplex), 12 total on the head wall | UCLA Resnick - Renovation
2 |  | Medical Air | UCLA Resnick - Renovation
4 |  | Oxygen | UCLA Resnick - Renovation
4 |  | Medical Vacuum | UCLA Resnick - Renovation
|  | Plumbing: current layout assumes | UCLA Resnick - Renovation
24 |  | Bed locator | UCLA Resnick - Renovation
Total cost | [8 empty] | 0
Notes:
1. Refer to matrix for quantities of electrical and medical gases for location. Refer to photos and existing drawings for additional information. Provide a similar to the existing Hill-Rom headwalls in photos.
2. The location of medical gases and electrical outlets in preliminary design. The locations and quantities are subject to change during final development.
3. An attached workstation is intended for double occupancy rooms – quantity 12. Plan to locate a similar workstation as shown in photo. Specification is not finalized. Do not include the workstation in pricing. See photos below for workstation reference.
4. This project is for UCLA Resnick building and is a renovation. The existing layout was for psychiatric and will change to a high acute medical surgery room. The gases and electrical will be relocated from existing. The only headwalls that are required to be tamper proof are the 2 psychiatric rooms.
5. All headwalls are surface mounted except the 2 in Behavioral Health.

## 1.29 R M-S Double Occupancy ALT
Manufacturer to complete matrix below in highlighted areas. Provide price and information in matrix. Price to be material unit prices sold to Contractor or UC Health. List item cost for each item and add items if needed in matrix.
Double Occupancy Unit
Typical Med-Surg Room
System to match - Amico NuLook Manifold System
Mfg # | to match
Qty | Drawing ID | Description | Project Location | Manufacturer | Manufacturer Description | Model number | List Price | Proposed UC Health Price per Unit | Extended Cost Based on Proposed Price per Unit
24 | A640.09 | Manufacturer to design a prefab type headwall to match requirements below. Specifications to match Amico Serenity Series. | UCLA Resnick - Renovation | [5 empty] | 0
|  | Estimated Dimensions - (2) - 84" H x 96" W with 1" center panel and 6" above finished floor | UCLA Resnick - Renovation
| Note | Headwalls required to have rails for monitor and articulating workstation shown below | UCLA Resnick - Renovation
System Requirements
2 |  | Electrical: 2 Critical (Duplex) | UCLA Resnick - Renovation
4 |  | Normal (Duplex), 12 total on the head wall | UCLA Resnick - Renovation
2 |  | Medical Air | UCLA Resnick - Renovation
4 |  | Oxygen | UCLA Resnick - Renovation
4 |  | Medical Vacuum | UCLA Resnick - Renovation
|  | Plumbing: current layout assumes | UCLA Resnick - Renovation
24 |  | Bed locator | UCLA Resnick - Renovation
Total cost | [8 empty] | 0
Notes:
1. Refer to matrix for quantities of electrical and medical gases for location. Refer to photos and existing drawings for additional information. Provide a similar to the existing Hill-Rom headwalls in photos.
2. The location of medical gases and electrical outlets in preliminary design. The locations and quantities are subject to change during final development.
3. An attached workstation is intended for double occupancy rooms – quantity 12. Plan to locate a similar workstation as shown in photo. Specification is not finalized. Do not include the workstation in pricing. See photos below for workstation reference.
4. This project is for UCLA Resnick building and is a renovation. The existing layout was for psychiatric and will change to a high acute medical surgery room. The gases and electrical will be relocated from existing. The only headwalls that are required to be tamper proof are the 2 psychiatric rooms.
5. All headwalls are surface mounted except the 2 in Behavioral Health.

## 1.30 R M-S BH
Manufacturer to complete matrix below in highlighted areas. Provide price and information in matrix. Price to be material unit prices sold to Contractor or UC Health. List item cost for each item and add items if needed in matrix.
Behavioral Health (BH) Unit
Typical BH Med-Surg Room
System to match
Mfg # | to match
Qty | Drawing ID | Description | Project Location | Manufacturer | Manufacturer Description | Model number | List Price | Proposed UC Health Price per Unit | Extended Cost Based on Proposed Price per Unit
2 | 2/A641 |  | UCLA Resnick - Renovation | [5 empty] | 0
Accessories Description
|  | Electrical: 2 Critical (Duplex) | UCLA Resnick - Renovation
|  | Normal (Duplex), 12 total on the head wall | UCLA Resnick - Renovation
1 |  | Medical Air | UCLA Resnick - Renovation
2 |  | Oxygen | UCLA Resnick - Renovation
2 |  | Medical Vacuum | UCLA Resnick - Renovation
|  | Plumbing: current layout assumes | UCLA Resnick - Renovation
2 |  | Bed locators | UCLA Resnick - Renovation
Total cost | [8 empty] | 0
|  |  | For Visual Reference |  |  |  | For Visual Reference
Notes:
1. Refer to matrix for quantities of electrical and medical gases for location. Refer to photos and existing drawings for additional information. Provide a similar to the existing Hill-Rom headwalls in photos.
2. The location of medical gases and electrical outlets in preliminary design. The locations and quantities are subject to change during final development.
3. An attached workstation is intended for double occupancy rooms – quantity 12. Plan to locate a similar workstation as shown in photo. Specification is not finalized. Do not include the workstation in pricing. See photos below for workstation reference.
4. This project is for UCLA Resnick building and is a renovation. The existing layout was for psychiatric and will change to a high acute medical surgery room. The gases and electrical will be relocated from existing. The only headwalls that are required to be tamper proof are the 2 psychiatric rooms.
5. All headwalls are surface mounted except the 2 in Behavioral Health.

## 1.31 Accessories ONLY
Manufacturer to complete matrix below in highlighted areas. Provide price and information in matrix. Price to be material unit prices sold to Contractor or UC Health. List item cost for each item and add items if needed in matrix.
Submit visual options for accessories in PDF format for review with architect
Mfg # | to match
Qty | Drawing ID | Description | Project Location | Manufacturer | Manufacturer Description | Model number | List Price | Proposed UC Health Price per Unit | Extended Cost Based on Proposed Price per Unit
103 |  | GCX Arm | UCLA Resnick - Renovation | [5 empty] | 0
103 |  | Workstation attached to rail or headwall (see photo below) | UCLA Resnick - Renovation
103 |  | Covered basket with closing top attached to rail or headwall to conceal ventilation material (to hold ventilation materials) | UCLA Resnick - Renovation
24 |  | Drop down work station for charting (in double occupancy rooms) - on rail or headwall | UCLA Resnick - Renovation
103 |  | 18" horizontal rail in center for basket | UCLA Resnick - Renovation
Total cost | [8 empty] | 0
Provide manufacturer options for the above equipment - workstation and monitor

## 2.01 Value Adds Questions
INSTRUCTIONS
● Complete yellow highlighted cells for your company products that can be provided per project.
# | Vendor Question | List answer
1 | List your manufacturer name
2 | List where your product is manufactured
3 | List where your product is assembled
4 | Where do the typical parts and pieces coming from? List all countries.
5 | List typical final shop drawings and fabrication lead times?
6 | List custom lead time?
7 | List how your product contributes to sustainability?
8 | List warranty? Can the warranty be extended?
9 | What is your standard plan to deploy a field representative for field verifications prior to manifacturing? Do you have a dedicated project manager?
10 | Pricing to be held for 3-years from start of agreement in 2024. Additional UC locations will be procuring similar headwalls as part of this aggregation.
11 | After initial 3-year term is complete, list a maximum escalation percentage per year.
12 | Can your product be part of a SBI or diversity plan?
13 | Are your products OSHPD certified? Does you product have a OPM#. If not list process, cost and time frame for achieving approval.
14 | Which products in your portfolio are not OSHPD cerified.
15 | List your company's experience with renovations versus new construction. What were the key findings with those renovation projects that will help with upcoming renovation projects?
16 | Please list the scope of the projects in question 15.
17 | Does your company have a local storage space available to hold the headwall items? If so, how long can the items be held for after shipping them to the storage space without a charge? Please list this for question 18 below.
18 | Does your company offer installation of your headwalls? If yes, do they have Union/Prevailing Wage installation available?
# | List Value Adds Provided to UC Health at No Charge | Estimated Value
Examples | Example: List Additional rebates, extended warranties, technical support, assessments, service, quality, portfolio and supplier diversity plan. | 0
19 |  | 0
20 |  | 0
21 |  | 0
22 |  | 0
23 |  | 0
24 |  | 0

## 2.02 Shipping
INSTRUCTIONS
● Complete yellow highlighted cells for your company products that can be provided per project.
# | Vendor Question | List answer
Regarding UC Davis
1 | How many trucks will be required to deliver all of the headwalls listed?
2 | Approximate cost per truck?
Regarding UC LA
1 | How many trucks will be required to deliver all of the headwalls listed?
2 | Approximate cost per truck?

## 2.03 Pricing Validation
INSTRUCTIONS
● Complete yellow highlighted cells. All products listed in Pricing Matrix must meet with basis of design Specification. If an alternate product is being submitted the specification deviates from the basis of design specification details must be listed below. It is the responsibility of the supplier to list any deviations that do not meet the basis of design specification. If deviations from the specification is not listed proposal can be deemed non-compliant and not accepted.
Did the product you submitted meet or exceed the basis of design specification? Y/N? List any deviations from basis of design in lines below.
Drawing ID # | Deviation from specification
1 | Deviation from specification
2 | Deviation from specification
3 | Deviation from specification
4 | Deviation from specification
5 | Deviation from specification
6 | Deviation from specification
7 | Deviation from specification
8 | Deviation from specification
4 | Deviation from specification
5 | Deviation from specification
6 | Deviation from specification
7 | Deviation from specification
8 | Deviation from specification
9 | Deviation from specification
10 | Deviation from specification
11 | Deviation from specification
12 | Deviation from specification
13 | Deviation from specification
14 | Deviation from specification
Add additional lines if necessary

## 3.01 References
References
Please list hospitals in California only below
Enter the information requested below for at least three (3) professional references that use your companies products as a standard.
Reference #1
Company Name:
Street Address:
City, State, Zip:
Contact Person:
Contact Person Phone Number:
Contact Person Email:
Reference #2
Company Name:
Street Address:
City, State, Zip:
Contact Person:
Contact Person Phone Number:
Contact Person Email:
Reference #3 - Renovations ONLY
Company Name:
Street Address:
City, State, Zip:
Contact Person:
Contact Person Phone Number:
Contact Person Email: